# 项目字段字典

## 适用问题

适用于用户询问项目中各类字段含义及数据来源的问题，例如：“active_model 表代表什么？”、“prediction_table 的字段有哪些？”。

## 核心解释

在智能运营分析项目中，数据表与字段众多，理解每个字段的含义是理解预测流程的基础。主要字段包括：

- da_price：日前电价，即电力市场在前一天发布的每小时电价，为项目预测目标。

- rt_price：实时电价，真实发生的交易电价，用于评估预测准确性。

- actual_load：实际负荷，来自 PJM 或电网运营商的实测负荷数据，是影响电价的重要因素。

- forecast_load：负荷预测，用于构建特征和预测高峰；天气影响负荷[1]。

- peak_risk：高峰风险等级，根据尖峰分类器计算出的风险概率，分为低、中、高三档。

- spike_probability：尖峰概率，用于评估某个小时是否可能出现尖峰价格风险。

- rmse：均方根误差，衡量模型预测误差的指标，强调大错误[2]。

- mae：平均绝对误差，衡量预测误差绝对值均值。

- cv_rmse：RMSE 与实际平均值的比值，用于评估模型相对误差[3]。

- model_id：模型编号，用于在模型注册表中标识特定模型版本。

## 判断依据

各字段设计基于电力市场数据结构和业务需求，例如使用每日发布的日前电价作为预测目标；使用实际负荷和天气数据作为主要特征[1]。误差评估指标借鉴能源建模领域的常用实践[3]。

## 常见误区

- 混淆实时电价与日前电价：实时电价用于评价，但预测对象是日前电价。

- 忽视负荷预测的重要性：负荷与天气对电价影响巨大，不能只关注历史价格。

- 误解 RMSE 与 MAE 的差异：RMSE 重视大误差，MAE 对所有误差同等对待[2]。

## 回答示例

当用户询问“spike_probability 是什么含义”时，可回答：

spike_probability 表示某个小时发生电价尖峰的概率，来源于尖峰分类器模型，用于预警潜在高价风险。

## 关键词标签

字段字典；数据表；误差指标；负荷；电价；预测模型

[1] How weather impacts energy demand & prices

https://www.amperon.co/blog/how-weather-impacts-energy-demand-prices

[2] Mean Absolute Error (MAE) and Root Mean Squared Error (RMSE)

https://resources.eumetrain.org/data/4/451/english/msg/ver_cont_var/uos3/uos3_ko1.htm

[3] How to Assess a Regression's Predictive Power for Energy Use - kW Engineering | Sustainable Buildings & Energy Efficiency Consulting

https://kw-engineering.com/how-to-assess-a-regressions-predictive-power-energy-use/